* Wear gloves, eye protection, and lab coat when performing this procedure

Beta-galactosidase Assay:

- 24- well microtitre plate assay:  Add 50 μl of lysis buffer +100 μl of cleavage buffer.

- Freeze/thaw cycle at -80ºC for 30 minutes and 10 minutes at 37ºC (water bath), repeat three times.

- Add 34 μl of ONPG, incubate for 50 minutes at 37ºC.

- Add 250 μl of stop buffer. Wait for ten minutes.

- Transfer 150 μl of the supernantant from the 24-well plate to a 96-clear bottom plate.

- Read plate at 420nm.

- Calculate the amount of ONPG hydrolyzed = (OD420)(3.84*105nl)/(4500 nl/nmole-cm) (1cm).

- To determine specific activity of beta-galactosidase (nmoles of ONPG hydrolyzed per minute per mg of protein):Specific activity = nmoles ONPG hydrolyzed/t/mg protein where t=the time of incubation in minutes at 37ºC and mg of protein is the amount of protein assayed.

Material/Supplies Needed:

- Beta-galactosidase Assay (Invitrogen #K1455-01)

- 24 well microtiter plate

- -80˚C freezer

- 37˚C water bath

- 96 well microtiter plate

- Plate reader with 420nm filter